## Project
BRAUMAT V7.x - Feature List
| Product Family | SIMATIC S7
Project
| Product | BRAUMAT
| Version | V7.x | [5 empty] | Status
Component
[8 empty] | PV-Nr. | Exxxx
| File |  |  |  | Version | Location and Date
| BRAUMAT_V70_Featurelist.xls |  |  |  | V04 | Würzburg | 2014-07-23
| Author |  | Department |  |  | Status
| Stefan Schranner |  | I IA AS PA SO B |  |  | first Issue
| Stefan Schranner |  | I IA AS PA SO B |  |  | second version
Distribution List:
| Name | Department |  | Location | Name | Department |  | Location
Remarks
In the blue fields you have a picture embedded
You can select new features of V7.x with the Drop-Down-Selection at column Explanatory note on Top
Warranty and liability
This document is not a official document!
We do not accept any liability for the information contained in this document
If there are any deviations between the recommendations provided in these application examples and other Siemens publications
– e.g. Catalogs – the contents of the other documents have priority
But feedbacks are welcome!
Contact
Stefan.Schranner@Siemens.com
Tel.: 0049 152 54690448
Links
Here are manuals and FAQ's, etc.. Simply enter the search term "Braumat"
Here are documents and tools in the CS2 Sharepoint
Siemens Braumat Product Support
official Braumat-Homepage

## Common System features
[7 empty] | BRAUMAT V7.x - Feature List |  | 2014-07-23
Help Flag
Category | Function | Description | Details ( available / amount ) | Explanatory note | Priority | Status |  | Status 1 | Status 2 | Status 3 | Status Sequence
Common System features
System - Configuration
| Graphical tool for hardware configuration and online-Diagnosis | SiteCfg application for AREA.INI, SYS.INI | YES |  | 1
| Scheduler in the background | for performing of external tasks by a time-plan | YES |  | 1
| Automatic backup of the PLC software | using block-transfer and Scheduler | YES |  | 1
| Different-Languages for the System |  | Gernan, English, Spanish, Chinese
| Different-Languages for the Engineering | for all configured languages in SiteCfg | Gernan, English, Spanish, Chinese |  | 1
| Automatic System-Start after Shut-Down | after booting the PC BRAUMAT will autom. start with the relevant process image | YES
| Licensing with SIMATIC Standard 'Automation License Manager' (ALM) | click to see Picture | YES | V7.0 | 2
| Administration for INI switches (additional Features) | Dialogue in "System Settings" | YES | cancelled in V7.0
| New setup in accordance with SIMATIC Standard |  | YES | V7.0
| System/project path separation | The BRAUMAT system is installed in the standard "program" directory |  | V7.0
| User rights, Windows User Account Control (UAC) | BRAUMAT no longer requires administrator rights in order to run. This provides more safetey! |  | V7.0
Coupling
| Coupling OS - OS |  | Ethernet (TCP/IP )
| Coupling OS - AS | The compatibility of SIMATIC NET ProfiNET hardware components including the associated ProfiNET communication as a process bus TCP/IP, I/O bus ProfiNET I/O and S7-S7 cross coupling TCP/IP with BRAUMAT has been tested | MPI Industrial Ethernet ISO Industrial Ethernet TCP/IP I/O bus ProfiNET I/O | V7.0
| Hot-standby server redundancy | with automatic switching of all multi-clients | YES
| Path Monitoring | monitoring of the connected PCU's with Alarm | YES
| S5 to S7 cross-coupling | Connections between the PLC's | YES | cancelled in V7.0
| Client as a multi-client | each AREA-based client can be multi-client for the entire system | YES |  | 1
| Display in the PCU-server | Port List | YES
Process pictures
| Loop in Alarm | Image change to the message generating object | YES
| Elements of all areas can be in all Process-Images | on a multi-client a element of any PCU in any AREA can be displayed | YES |  | 1
| TAG - View | display of the configured TAG's | YES |  | 1
| TAG - Global Search | via Tag-name the corresponding image where the TAG is used is searched and display with a marker | YES |  | 1
| TAG - Search in the image | via Tag-name the corresponding Element is searched in the same image with a marker | YES |  | 1
| JPG format for background image | is possible in addition to BMP | YES
| EMF format (vector graphics) for image symbols | "Zoomable" image symbols without loss of quality | YES | V7.0
| Undo/redo function | Undo/redo image amendments (10 stages) | YES | V7.0
| Image levels, presentation sequence | Display/hide/block image elements or groups in the Editor window (image design | YES | V7.0
| Indirect connection | New, integrated dbf editor dialog for the source definitions | YES | V7.0
|  | New Visualization Features |  |  | 1
| ICM Faceplate | Display all the attributes / also enginnering of parameters is possible: Simulation (for feedback) Forcing (for Interlock); Maintanance (on entity definition) | YES |  | 1
| Digital Faceplate | "Display all the attributes / changing parameters is also possible; Simulation (for feedback), Trend display | YES |  | 1
| Analog Faceplate | "Display all the attributes / changing parameters is also possible, Simulation (for feedback), Trend display | YES |  | 1
| Controller - Faceplate | "Display all the attributes / design also possible | YES |  | 1
| Sequence faceplate | as a line and as a Window with all information | YES |  | 1
| Data-entity Faceplate | Table with a recipe independent parameters | YES |  | 1
| Message Faceplate | with filtering of messages to be displayed with optional Analog-values | YES |  | 1
| Image Navigator Faceplate | for image navigation | YES
| Date / Time - Faceplate | with display of the user logged in | YES
| Smart-unit faceplate | for the Display of relevant images and display the status | YES
| Control Panel - Faceplate | To navigate in the Process images | YES |  | 1
| Statusbyte - Faceplate | for display of more than 2 status | YES |  | 1
| Interconnection of dynamic variables | for display depending of a variable | YES
| Search for installation location in the image design | Search function also fully/partially qualified via the process images (such as LzSys) | YES | V7.0
| Modeless operation | The runtime dialogs are now "multi-instance enabled", i.e. multiple blocks can be opened at the same time | YES | V7.0
| New controls for tank/pipe status block |  | YES | V7.0
| New OCX symbols | emf/vector graphics | YES | V7.0
| Add Graphical objects (f.e. Tanks as bmp) | Graphical objects can be added in the picture | YES | V7.0
Plant overview
| Windows in the Plant overview | "- Sequence - Overview; Unit related parameters, EOP related parameters, Message window
| Display Step-on condition | by S7-status | YES
| Setpoint Modification | also of running recipes | YES
| Selection of sub-systems-in a hierarchical menu | by Process cell | YES
| Optional S88.1 - menu items | must be enabled | YES
| Reset of Alarm flags | for fault / warning / message | YES
| Acknowledge-Dialog for control messages | with the ability to change parameters | YES
| Hiding of not running sequences |  | YES
| New self-explanatory unit status symbols | click for to open picture | YES | V7.0
| Display column for recipe category for the current batch for each unit |  | YES | V7.0
Trend-Logging and display
| Display short time - curves |  | YES
| Display week related curves |  | YES
| Display batch-related curves |  | YES
| Display digital signals (Output on/off) |  | YES
| Comparing curves | for compare curves from different batches | YES |  | 1
| New application for editing the measurement-description list | as a substitute for the ACCESS Application | YES
| Jump in current trend-Display | from the process image to the curve of the current batch | YES |  | 2
| Multi-client function | The application has an area selection dialog. Changes are now automatically saved on both servers for an area in all cases |  | V7.0
Route control (RCS)
| Integrated Route control -System in BRAUMAT | with the configuration tool and server functions | YES |  | 1
| Import function for CE's | automatically from BRAUMAT Engineering | YES |  | 1
| Data interface to RCS in the sequence-Structure | For to the direct control of ways from a sequence | YES |  | 1
| RCS-Faceplate for the process images | for to display an active way | YES
SQL Server Connection
| Data transfer from BRAUMAT for | for automatic export during runtime | YES
| step Protocols |  | YES
| messages |  | YES
| Trending data |  | YES
| change logs |  | YES
| order-System data |  | YES
| Recipe data |  | YES
Cellar-Management
| Tank status block | This function block manages the tank and container statuses and provides runtime monitoring with interfaces and alarms for process and quality status for this purpose, including an operating and monitoring interface (click to see) | max. 255 tank statuses 3 separate timers Up to 8 temperature sensors | V7.0
| Line status block | This function block manages the pipeline statuses and provides runtime monitoring with interfaces and alarms for the process status for this purpose, including an operating and monitoring interface | max. 255 line statuses one Timer | V7.0
Material management
| The materials to be transported and the group to which they belong can be defined | Material to material Material to group Group to material Group to group (click to see!) |  | V7.0
| Material compatibility | A matrix of the material sequence relationships can be used to check whether the source product is suitable for the target product | at the RCS level for Order-planning for the batch sequence in the plant unit | V7.0
Other Features
| New Menu | with grouping of applications and new symbols | YES
| Graphical representation of the interconnections of the Modules | using the offline DB's | YES
| Online display of all PLC-Blocks in all PLC | for S7 | YES | S5 cancelled in V7.0
| Maintenance data | Five set points, cycles and hours of operation, Alarm-generation and export the data to a file
| Tracking of all changes in the System | Archive for entire AREA. (Parameters and recipe modification) | YES |  | 1
| ICM Entity | summarized from ICM regarding interlock for maintenance, | YES |  | 1
| Fast ICM (100 ms) | fast switching Output with 100 msec cyclic-time | YES
Call FC727 with ICM-Number in the FB1224
| Trace server | For recording of System-Alarms and Messages | YES
| Trace Viewer | Software for displaying messages | YES
| Import / Export for the complete parameterization (using Microsoft Excel) | With that multilingual engineering is possible.Dokumetation of engineering is possible; With that Migrating from S5 to S7-is possible | YES |  | 1
| Interface to Page-Control | filtered sending of messages via SMS or pager; by Analogue Modems (Devolo Mikrolink 56k i) - ISDN Card (AVM Produkte, z.B. Fritz Card) - GSM Modem - Internet DSL | YES |  | 1
Curve-Input: Input of curve-Data for example for Tank-cooling
| Streaming | management of cross-over-Transfers if several production-lines are in use
| Process-driven activation of a process image | The application userstart.exe allows you start a process-picture or a application with any IOS command like changing a data word
| User texts / text length 32 characters | All identifiers of technological objects have been expanded to a maximum text length of 32 characters | all classes | V7.0
| "ZL Synchronizer" application | The process for selecting BRAUMAT object classes for synchronization with the Step 7 symbol table has been enhanced | all classes | V7.0
|  |  |  | Customer does not yet know the function = |  |  | at Status 1
Customer already knows the function =
Customer has the function already in use =
|  |  |  | Customer evaluates the function to be unusable = |  |  | at Status 2
Customer evaluates the function as u.U. unusable =
Customer evaluates the function to be useful =
|  |  |  | Customer wants to use non-function = |  |  | at Status 3
Customer wants to function u.U. = use
Customer wants to use function =

## Recipe features
0 | [6 empty] | BRAUMAT V7.x - Feature List |  | 2014-07-23
Help Flag
Category | Function | Description | Details ( available / amount ) | Explanatory note | Priority | Status |  | Status 1 | Status 2 | Status 3 | Status Sequence
Recipe-System specific functions
Recipe-System
| Engineering the Graphical recipe | Complete graphical engineering | YES
| Online view to current recipes | can be activated via sequence-overview, Order-system, Faceplate | YES
| Copy of recipe procedures | With "Save As .." | YES
| Recipe-parameter scaling | Volume calculation based on a batch size | YES
| substitute Setpoints | Setpoints values are replaced by a value from parameter list | YES
| Jumps in the recipe | Jumps between EOPs within the UNIT | YES |  | 1
| Line Recipes | A reference recipe for many other recipes f.e. for a tank farm | YES |  | 1
| Streaming | Dynamic combination of sequence-units in the recipe | YES
| S88.1 - compliant recipe system | with English adaptation of the corresponding identifiers (Language 10) | YES |  | 1
| S88.1. Sub-systems structure | Sequences can be controlled alternatively by S88.1-Stati using this function, Step + 1 and Hold and Pause can be realized | YES
| Batch Diagnostics | for to display active synchronizations and alternatives | YES
| Convert of recipe versions | by means of conversation tool / change of the data base structures | YES |  | 1
| Text (bit field) | Individual bits of a double word with texts can be linked in the context of DFM usage (e.g. recipe editor, plant overview). Click to see sample | With this Option it is possible, to select functions and outputs by recipe-functionality depending from a Step. | V7.0
Recipe System with materials and scale functions
| Interfaces for scales | TF scale as Interface to GF-Scales | Counter-scale (FM350) | cancelled in V7.0 | 1
| Scaling for several components | On a scale, several components can be weighed sequentially | YES
| Material-management in the recipe | Component - parameters in direct relation to the scales can be configured | YES
Order system
| Editor for the batch management | with display of the History | YES
| batch start | Time-triggered with and without adjustment | YES
| batch start | By event | YES
| History view for finished batches | Selection by filters | YES
Caption: |  |  |  | Customer does not yet know the function = |  |  | at Status 1
Customer already knows the function =
Customer has the function already in use =
|  |  |  | Customer evaluates the function to be unusable = |  |  | at Status 2
Customer evaluates the function as u.U. unusable =
Customer evaluates the function to be useful =
|  |  |  | Customer wants to use non-function = |  |  | at Status 3
Customer wants to function u.U. = use
Customer wants to use function =

## Quantity schedule
0 | [7 empty] | BRAUMAT V7.x - Feature List
Help Flag
Category | Function | Description | Details ( available / amount ) | Explanatory note |  | Priority | Status |  | Status 1 | Status 2 | Status 3 | Status Sequence
Quantity schedule
Hardware and areas
| PCU per plant | i.e. for more areas depending from the overall system | max. 64
| PCU per recipe AREA | i.e. that means PCU on a recipe server pair | max. 16
| OS server for each recipe AREA |  | max. 2
| OS clients per plant | a client of a recipe can also be multi-AREA-client of a entire system | theoretical 253 | pracitcally max 32 Clints per Plant | Practically, no more than 32 per plant are connected Clints | 1
| OS clients per recipe AREA |  | theoretical 253 | pracitcally max 32 Clints per Plant | Practically, no more than 32 per AREA Clints be connected
| AREAS per plant |  | max. 16
| Instances per class | Related to one S7-PLC
| ICM | Valves, motors | 4 x 255 (ESG) |  | in older versions only 2 x 255 | 1
| sequences, Units | e.g. Mill, mash tun | 128 (SEQU) | V7.0
| Data Acquisition | analog inputs | 512 (MESS) | V7.0
| Measurement control | Limit switches | 128 (MEKO)
| PID controller |  | 64 ( PID )
| Three-Step controller | f.e. for Tank control | 128 ( DREIP ) | V7.0
| Analog value outputs | analog outputs | 512 ( ANAU ) | V7.0
| Increment-Converter | Pulses for open and close of valves with motor actuators | 16 ( INKU )
| user messages |  | 2048 (MELD ) | V7.0
| new messages classes | with optional Analog-Values | any number
| Analog fixed values | e.g. free setpoints | 255 ( ANA )
| Start of Sequences | Start of a sequence | 96 ( ASTA )
| Multifunction-Module | e.g. +/-/*/ Division etc | 128 ( MULT )
| polygon matching | "The device allows the adjustment of up to 64 values over 10 base pairs | 32 ( POLY )
| Special values | e.g. Timer / counter set values | 510 ( Special value )
| Batch - Job - Start |  | 128 ( CAS ) | V7.0
| Digital function modules DFM 0-3 | e.g. for Recipes setpoints | 4 x 255
| Digital function modules DFM 4 | same like DFM1 functionality | 1 x 255 | V7.0
| Digital function modules DFM 5-8 | Expansion of DFM1 functionality with practically the same functions, but based on REAL data type | 4 x 255 | V7.0
| Curve setpoints | e.g. for tank temperature set point curves | 64 ( KURVSW )
| Send buffer |  | 6 ( SendPu1 - 6)
| FIFO's |  | 6 ( FIFO1 - 6 )
| Maintenance data ICMs | Cycles / running-times | 1023 ( MAINT_ESG )
| Timer (used also for Digtal-Faceplate | as delay and as pulse; The process connection can be released from the standard mapping | 2 x 512 ( SE_TIMER ) | V7.0 |  | 1
| Silo groups | Materials data management | 128 ( SILO_W01- Y )
| Scale data set |  | 32 ( GFWAAGE )
| BRL Binary logic operations can be configured graphically and undergo operator control and monitoring | Interlock of an ICM; Permanent condition of a plant unit; Click to see picture | 9 groups with 256 instances 32 pins 32 gates | V7.0
|  | Next-Step condition of a step block (EOP-FC) Click to see picture | 9 groups with 256 instances 32 pins 32 gates | V7.0
| All analog signal-processing blocks use the REAL data type |  | all classes | V7.0
| New data types | DT (S7 data type DATE_AND_TIME) ENUM (enumerations based on system or project text files), GREF/PREF (Data connection to any PCU memory areas in the same PCU) (click to see sample) | all classes | V7.0
recipe System
| Technical Operations | Steps, GOP, EOPs | 1999 | V7.0
| Setpoints for each operation | That means DFMs per Step | 24 | V7.0 |  | 1
Related to a recipe Area
| recipe categories | e.g. Production, CIP | 255
| Recipes per category |  | 32767
| recipe procedures | the recipe description in a grafical Recipe-system | 32767
| Partial recipe procedures for each recipe procedure | sequences in the recipe | 256
| Operations per partial recipe procedure | steps / sequence | 256
| Silogroups | for Material Management | 127
| materials | for Material Management | 127
| scales | for Material Management | 64
| Tag Management | Based on a recipe Area
| TAGs (variables) per process image |  | 1200 Standard-Variables 1200 at Faceplates | V7.0
| TAG's per server | for all connected PCUs. From that per S7-PCU, without PI-variables | 16320 2035
| Variables for curve tracing | for all connected PCUs. From that per S7-PCU, without PA-variables | 16320 2035
| Curve-Groups |  | at 240 per AREA | V7.0
Cross-coupling of PCU-PCU
| Cross-coupling connections | i.e. max. number of PCUs | 32
| Cross-coupling jobs | i.e. Datapackage between two PCUs | 512
Administration
| Password level | Linked to individual functions or areas | 255
| User |  | any
Route control-System (RCS)
| Control Elements | Valves, motors | 1024
| Sensor elements | binary signals | 1024
| Parameter elements | Setpoints 32 bit | 1024
| Link items | materials etc | 1024
Caption: |  |  |  |  | Customer does not yet know the function = |  |  | at Status 1
Customer already knows the function =
Customer has the function already in use =
[5 empty] | Customer evaluates the function to be unusable = |  |  | at Status 2
Customer evaluates the function as u.U. unusable =
Customer evaluates the function to be useful =
[5 empty] | Customer wants to use non-function = |  |  | at Status 3
Customer wants to function u.U. = use
Customer wants to use function =

## Special Service
0 | [5 empty] | BRAUMAT V7.x - Feature List |  | 2014-07-23
Help Flag
Category | Function | Description | Explanatory note | Priority | Status |  | Status 1 | Status 2 | Status 3 | Status Sequence
General Functions
| remote control | many solutions available depending from specific-IT-regulations |  | 1
| Technical support (standard) | Standard by SIMATIC Hotline |  | 1
| Technical support (advanced) | SIMATIC Hotline with AVC-card or special service |  | 1
| Official trainings | Reference to SITRAIN page |  | 1
| Individual trainings |  |  | 1
| Technical Advice | Technical advice e.g. the design of system configurations |  | 1
| Engineering Service | Configuration, development and implementation of projects |  | 1
| Technological portfolio | in the following areas we have used Braumat (list is not complete) | Malt-Plant; Malt-System Brewery; brewhouse; fermenting-Cellar; filtration Brewery; machine-house, waste water treatment, yoghurt production
| Spare Parts and Repair | Spare parts and repair service
| open system | Easy access to internal data structures, add your own OCX, data access via datalink OCX, you can make your own Parameter-Templates
| "S5 to S7" - Migration | with the help of certain tools and import / export - Function |  | 1
| Creating of non-standard system language DLL | "Default is ENGLISH / GERMAN / ENGLISH S88, SPANISH; CHINESE; Possible options: FRENCH / Swedish / Polish / PORTUGUESE / RUSSIAN |  | 1
Caption: |  |  | Customer does not yet know the function = |  |  | at Status 1
Customer already knows the function =
Customer has the function already in use =
|  |  | Customer evaluates the function to be unusable = |  |  | at Status 2
Customer evaluates the function as u.U. unusable =
Customer evaluates the function to be useful =
|  |  | Customer wants to use non-function = |  |  | at Status 3
Customer wants to function u.U. = use
Customer wants to use function =

## canceled features
0 | [6 empty] | BRAUMAT V7.x - Feature List |  | 2014-07-23
Help Flag
Category | Function | Description | Details ( available / amount ) | Explanatory note | Priority | Status |  | Status 1 | Status 2 | Status 3 | Status Sequence
Technologucal Functions
| Queuing |  | canceled
| Interface WINCC | by channel and OCX | canceled
| Windows XP & Server 2003 operating system versions |  | canceled | V7.0
| Controllers of the SIMATIC S5 series |  | canceled | V7.0
| BRAUMAT Soft-CP network driver for process bus communication with AS Simatic S5 |  | canceled | V7.0
| SIWAREX M weighing system |  | canceled | V7.0
Caption: |  |  | Customer does not yet know the function = |  |  |  | at Status 1
Customer already knows the function =
Customer has the function already in use =
|  |  | Customer evaluates the function to be unusable = |  |  |  | at Status 2
Customer evaluates the function as u.U. unusable =
Customer evaluates the function to be useful =
|  |  | Customer wants to use non-function = |  |  |  | at Status 3
Customer wants to function u.U. = use
Customer wants to use function =